## Vanuatu Assets
code | type | indicator | text | detail | options | newScreen | followUpAnswers
| Instruction |  | Please check the availability of the following items and enter how many of each item is in the facility - if there are none, then enter zero (0). Please do not include items that are broken and cannot be repaired. |  |  | Yes
VA1 | Number | Vanuatu Analyzers, Point-of-Care, Whole Blood | Analyzers, Point-of-Care, Whole Blood |  |  | Yes
VA1a | Number | Vanuatu Analyzers, Blood Glucose Meter | Blood Glucose Meter
VA2 | Number | Vanuatu Aspirators, Emergency | Aspirators, Emergency | Portable, Electric or Manual |  | Yes
VA3 | Number | Vanuatu Charts, Eye, Color Discrimination | Charts, Eye, Color Discrimination |  |  | Yes
VA4 | Number | Vanuatu Charts, Eye, Visual Acuity | Charts, Eye, Visual Acuity
VA5 | Number | Vanuatu Detectors, Fetal Heart, Ultrasonic | Detectors, Fetal Heart, Ultrasonic |  |  | Yes
VA6 | Number | Vanuatu Height Measurement Instruments | Height Measurement Instruments |  |  | Yes
VA7 | Number | Vanuatu Nebulizers, Ultrasonic | Nebulizers, Ultrasonic |  |  | Yes
VA8 | Number | Vanuatu Ophthalmoscope | Ophthalmoscope |  |  | Yes
VA8a | Number | Vanuatu Otoscope | Otoscope
VA9 | Number | Vanuatu Refrigerators, Pharmacy | Fridge, Pharmacy |  |  | Yes
VA10 | Number | Vanuatu Fridge, 2-Door | Fridge, 2-Door
VA11 | Number | Vanuatu Coolers, Vaccine | Vaccine Coolers/Carriers
VA12 | Number | Vanuatu Scales, Infant | Scales, Infant | 5kg capacity |  | Yes
VA13 | Number | Vanuatu Scales, Patient, Floor | Scales, Patient, Floor
VA14 | Number | Vanuatu Sphygmomanometers, Manual | Sphygmomanometers (Blood Pressure Machines), Manual |  |  | Yes
VA15 | Number | Vanuatu Blood Pressure Cuff, Adult | Blood Pressure Machine Cuff (Adult)
VA16 | Number | Vanuatu Blood Pressure Cuff, Child | Blood Pressure Machine Cuff (Child)
VA17 | Number | Vanuatu Sterilizing Units, Steam, Tabletop | Sterilizing Units, Steam, Tabletop |  |  | Yes
VA18 | Number | Vanuatu Adult Stethoscopes | Stethoscopes | Adult |  | Yes
VA19 | Number | Vanuatu Fetal Stethoscopes | Stethoscopes | Fetal
VA20 | Number | Vanuatu Beds, Mechanical | Beds, Mechanical | Standard single |  | Yes
VA21 | Number | Vanuatu Mattress | Matress | 15cm mattress with vinyl cover
VA22 | Number | Vanuatu Beds, Mechanical, Birthing | Beds, Mechanical, Birthing | Manual
VA23 | Number | Vanuatu Intravenous Poles | Intravenous Poles |  |  | Yes
VA24 | Number | Vanuatu Lights, Examination | Lights, Examination |  |  | Yes
VA25 | Number | Vanuatu Monitors, Personal, Pulse Oximetry | Monitors, Personal, Pulse Oximetry |  |  | Yes
VA26 | Number | Vanuatu Regulators, High-Pressure Gas | Regulators, High-Pressure Gas | Flowmeter w/- humidifier for Oxygen bottles |  | Yes
VA27 | Number | Vanuatu Tables, Examination/Treatment | Tables, Examination/Treatment |  |  | Yes
VA28 | Number | Vanuatu Basins, Wash | Basins, Wash |  |  | Yes
VA29 | Number | Vanuatu Cabinets, Storage, Bedside | Cabinets, Storage, Bedside |  |  | Yes
VA30 | Number | Vanuatu Cabinets, Storage, Medicine | Cabinets, Storage, Medicine
VA31 | Number | Vanuatu Carts, Instrument | Carts, Instrument |  |  | Yes
VA32 | Number | Vanuatu Chairs, Bath | Chairs, Bath | Plastic, no wheels, Steel frame |  | Yes
VA33 | Number | Vanuatu Charts, Bed | Charts, Bed | For patient info |  | Yes
VA34 | Number | Vanuatu Footstools, Two/Three-Step | Footstools, Two/Three-Step |  |  | Yes
VA35 | Number | Vanuatu Hammers, Percussion | Hammers, Percussion |  |  | Yes
VA36 | Number | Vanuatu Instrument Trays | Instrument Trays |  |  | Yes
VA37 | Number | Vanuatu Kick Buckets | Kick Buckets |  |  | Yes
VA38 | Number | Vanuatu Microscopes, Light, Laboratory | Microscopes, Light, Laboratory |  |  | Yes
VA39 | Number | Vanuatu Screens, Bedside | Screens, Bedside |  |  | Yes
VA40 | Number | Vanuatu Stools, Adjustable, Surgery | Stools, Adjustable, Surgery |  |  | Yes
VA41 | Number | Vanuatu Tables, Overbed | Tables, Overbed | Onwheels |  | Yes
VA42 | Number | Vanuatu Tuning Forks | Tuning Forks |  |  | Yes
VA43 | Number | Vanuatu Waste-Disposal Units, Sharps | Waste-Disposal Units, Sharps |  |  | Yes
VA44 | Number | Vanuatu Chair, Single, office (no wheels) | Chair, Single, office (no wheels) | Cushioned, no wheels |  | Yes
VA45 | Number | Vanuatu Chair, single, patient | Chair, single, patient | Plastic, no wheels, Steel frame
VA46 | Number | Vanuatu Clock, Wall Mounted | Clock, Wall Mounted |  |  | Yes
VA47 | Number | Vanuatu Desk, Workstation 1.5m with drawers | Desk, Workstation 1.5m with drawers | Minimum 1.5m (w) x 0.6m (d) |  | Yes
VA49 | Number | Vanuatu Filing, Patient, 3-tier lockable | Filing Cabinet, 3-tier lockable |  |  | Yes
VA50 | Number | Vanuatu Rack, Tools | Rack, Tools |  |  | Yes
VA51 | Number | Vanuatu Seats, Bench, 2.4m | Seats, Bench, 2.4m |  |  | Yes
VA52 | Number | Vanuatu Shelving, Book, 2 or 3-tier | Shelving, Book, 2 or 3-tier | May be wall mounted |  | Yes
VA53 | Number | Vanuatu Shelving, Pharmaceutical, Open | Shelving, Pharmaceutical, Open
VA54 | Number | Vanuatu Shelving, Storage, Hazardous Goods | Shelving, Storage, Hazardous Goods
VA55 | Number | Vanuatu Table, Sorting | Table, Sorting | 1.2-1.5m x 0.6 - 0.75m, steel frame |  | Yes